PORTFOLIO ASSESSMENT

Week2

Presented by: Nguyen Anh Quan 104774891

Studio 7.1

- Data selection: Combined Cycle Powerplant

- At first, I struggled to find the perfect discipline to work in studio 1, as there is so many interesting disciplines for me to explore. However, after discussing my friend who has internship, he advised me to choose Combined Cycle Powerplant (CCP), he told me that energy management is crucial in managing artificial intelligence ( AI) system, especially when the globe is warming up, work such as managing battery charging and discharging in real time market should be taken seriously so that a clean, environment-friendly is ensured. He also told me that solar energy, nuclear energy is the global trend to develop technology and at the same time keep our environment clean. After his story, I agree with him and that story deepen my interest in a real-life problem and want to explore this particular discipline further, which will be doing as this assessment.

- Summary of Exploratory Data Analysis (EDA)

Case overview:

- This study analyzes the Combined Cycle Power Plant dataset, which was collected from a power plant operating at full load between 2006 and 2011. The dataset consists of hourly averaged environmental variables that influence power plant performance. These variables are used to predict the plant’s net hourly electrical energy output, measured in megawatts (MW). The primary objectives of the exploratory data analysis (EDA) are to understand the data distribution, identify trends and relationships among features, and detect anomalies or outliers that could impact model performance.

Data Overview

| name | role | type | demographic | description | units |
| --- | --- | --- | --- | --- | --- |
| AT | Feature | Continuous | None | in the range 1.81°C and 37.11°C | C |
| V | Feature | Continuous | None | in the range 25.36-81.56 cm Hg | cm Hg |
| AP | Feature | Continuous | None | in the range 992.89-1033.30 milibar | milibar |
| RH | Feature | Continuous | None | in the range 25.56% to 100.16% | % |
| PE | Target | Continuous | None | In the range of 420.26-495.76 MW | MW |

The dataset table above contains 9,568 data points with the following features and a target variable. The features AT, V, AP, and RH are ambient variables that affect power plant performance, while PE is the target variable, which represents the power output.

Deep Analysis:

• Feature Distribution: The summary statistics show that ambient temperature (AT), exhaust vacuum (V), atmospheric pressure (AP), and relative humidity (RH) are well distributed across their respective ranges. The mean values reflect the typical operating conditions of the plant.

• Target Variable (PE): The net hourly electrical energy output (PE) has an average value of approximately 454.37 MW and a standard deviation of 17.07 MW, indicating moderate variability in power generation, likely influenced by fluctuations in ambient conditions.

• Correlation Analysis: The analysis identified strong negative correlations between ambient temperature (AT) and power output (PE) at –0.948, as well as between exhaust vacuum (V) and PE at –0.870, indicating that increases in temperature and vacuum are associated with a significant decrease in power output. In contrast, atmospheric pressure (AP) and relative humidity (RH) exhibit moderate positive correlations with PE, suggesting that higher pressure and humidity levels are linked to increased power generation.

- Class Labelling for Target Variable / Developing Ground Truth Data

Ground Truth Development

Target variable in this dataset is the net hourly electrical energy output (PE) which

measures in megawatts (MW). To develop the ground truth data, the following steps were executed:

• Data Verification: The PE values were cross-checked with the plant’s operational records to confirm that they accurately represent the plant’s output under full-load conditions. This verification process ensures that the PE values reflect the true power output, providing a reliable ground truth for model training.

• Consistency Check: The recorded PE values were further examined for consistency with the corresponding ambient conditions (AT, V, AP, RH). This step helps ensure that the dataset accurately reflects the relationship between environmental factors and power output.

• No Class Labeling Needed: As PE is a continuous variable, class labeling was not necessary. Nevertheless, the integrity of the PE values was carefully preserved to ensure they function as a reliable target for regression modeling.

- Feature Engineering and Feature Selection

Feature Engineering

• Scaling: Standard scaling was applied to all features to place them on a comparable scale, which is particularly important for machine learning models such as linear regression. This step helps prevent features with larger value ranges from having a disproportionate impact on the model’s predictions.

• Polynomial Features: Polynomial features were generated to capture non-linear relationships between the input variables and the target variable (PE). These additional features, including terms such as AT2, V2, and interaction terms like AT×V, improved the model’s ability to predict PE more accurately.

Feature Selection

• Correlation Analysis: The correlation analysis highlighted the strong negative

correlations between AT and PE at -0.948 and V and PE at -0.870. These features

were identified as key predictors for the model.

• SelectKBest: The SelectKBest method was applied to retain features with the strongest statistical relationships to PE. This approach reduced the feature set to the most relevant variables, thereby improving model efficiency and lowering the risk of overfitting.

- Training and Model Development *

Model Development

1. Linear Regression on Normal Dataset:

-  Training Score: 0.9283

- Equation: y=−14.7991*AT+−2.9493⋅V+0.3694*AP+−2.3084*RH+454.3729

- R^2 Score: 0.9301

- MSE: 20.2737

- MAE: 3.5959

2. Linear Regression on Feature Engineered Dataset:

-Training Score: 0.9377

- Equation: y=0.0*AT+−13.4240*V+−3.8072*AP+0.7609*RH+453.1795

- R^2 Score: 0. 9383

- MSE: 17.9031

- MAE: 3.3513

3. Decision Tree Regressor on Normal Dataset:

- Training Score: 1.0

- Feature Importances:

+ AT: 0.9058

+ V: 0.0567

- R^2 score: 0.9295

- MSE: 20.4490

- MAE: 3.0760

4. Decision Tree Regressor on Feature Engineered Dataset:

- Training Score: 1.0

- Feature Importances:

+V^2: 0.0842

+AT*V: 0.1056

-R^2 Score: 0.9253

-MSE: 21.6652

-MAE: 3.2032

VI.  Final Comparison Table *

LR: Linear Regression

DT: Decision Tree

ND: Normal Dataset

FED: Feature Engineered Dataset

| Model | R^2 | MSE | MAE |
| --- | --- | --- | --- |
| LR (N) | 0.9301 | 20.2737 | 3.5959 |
| DT (N) | 0.9295 | 20.4490 | 3.0760 |
| LR (FED) | 0.9383 | 17.9031 | 3.3513 |
| DT (FED) | 0.9253 | 21.6652 | 3.2032 |

- A Brief Summary of Your Observations in the Comparison Table

Summary of Observation

- Linear Regression demonstrated strong performance on both the original and feature-engineered datasets, with a slight improvement in accuracy and error metrics after the inclusion of polynomial features.

- The Decision Tree model also performed well, particularly in capturing relationships between features; however, it showed signs of overfitting, especially after polynomial features were introduced.

Conclusion

* Feature engineering led to a slight improvement in the performance of the linear regression model, while the decision tree model experienced a minor decline in performance due to overfitting on the more complex dataset.

*Result data may be slightly different after re-trained or modification

Reference

1.	Combined cycle power plant (2006-2011) UCI Machine Learning Repository. Available at: https://archive.ics.uci.edu/dataset/294/combined+cycle+power+plant